## BID
NEW HAMPSHIRE DES DWSRF LOAN NO. 2001010-09
WATER FILTRATION PLANT UPGRADES
ROCHESTER, NH
BID OPENING DATE: 6/12/2014
| Engineer's Estimate - Base Bid $1,401,000 |  |  |  |  | BIDDER'S NAME
| Wright-Pierce Project No. 12798A |  |  |  |  | Penta Corporation |  | Apex Construction, Inc. |  | Keymont Construction, Inc. |  | Kinsmen Corporation |  | Infrastructure Construction Corp.
Engineer's Estimate
BID ITEMS
No. | Description | Qty. | Unit | UNIT AMT | COST | UNIT AMT | BID | UNIT AMT | BID | UNIT AMT | BID | UNIT AMT | BID | UNIT AMT | BID
BASE BID
1 | Mobilization / Demobilization | 1 | LS | 50000 | 50000 | 5000 | 5000 | 100000 | 100000 | 30000 | 30000 | 75000 | 75000 | 75000 | 75000
2 | Demolish, Prep and Install Automatic Backwashing Filter Equipment, Media, Ancillary Components, | 1 | LS | 960000 | 960000 | 658000 | 658000 | 1150400 | 1150400 | 1148000 | 1148000 | 1229700 | 1229700 | 1049744 | 1049744
| Instrumentation, Electrical and Start-up / Testing of Sand and Dual Media Filters. Backwash Collection | [13 empty] | 0
| Box, Backwash Trough Hardware Replacement, Floor Butterfly and Mud valves with Stems - Filter Room. | [13 empty] | 0
3 | Demolish, Prep and Install Bulk / Day Chemical Storage, Solution Batch / Saturator Tanks, Dust Collectors, | 1 | LS | 265000 | 265000 | 450000 | 450000 | 260000 | 260000 | 333500 | 333500 | 410000 | 410000 | 650000 | 650000
| Chemical Feed and Transfer Equipment, Piping, Reuse Day Tank Weight Scales, Instrumentation and | [11 empty] | 0 |  | 0
4 | Demolish Existing Grout Tank Pads, Former Concrete Pump Pad, Cut Section of Concrete Berm Wall, | 1 | LS | 55500 | 55500 | 125000 | 125000 | 12000 | 12000 | 193600 | 193600 | 46000 | 46000 | 50000 | 50000
| Fluoride Room Double Leaf Door, Cast New Bisecting Wall, Cast New Filter Channel Wall, Surface Prep | [13 empty] | 0
| and Application of Chemical Containment Liner – Bulk Storage Area, Filter and Fluoride Rooms. | [13 empty] | 0
5 | Demolish Windows, Cut Openings, Prep and Install Filter Room Roll-up Doors. | 1 | LS | 40000 | 40000 | 14000 | 14000 | 15000 | 15000 | 11500 | 11500 | 14000 | 14000 | 10000 | 10000
6 | WinCOM Panel Demolition / New Wall / Touchscreen with Wire / Conduit for Power and Instrumentation. | 1 | LS | 15500 | 15500 | 21900 | 21900 | 12000 | 12000 | 14200 | 14200 | 13000 | 13000 | 25000 | 25000
7 | PLC Programming and SCADA Integration. | 1 | LS | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000
TOTAL BASE BID AMOUNT ITEMS (1 THROUGH 7) |  |  |  |  | 1401000 |  | 1288900 |  | 1564400 |  | 1745800 |  | 1802700 |  | 1874744
ALTERNATES
A | Demolish Existing Interior / Exterior Metal Doors and Frames. Install new Frames and Doors to Fit Openings. | 1 | LS | 17500 | 17500 | 25000 | 25000 | 14000 | 14000 | 17000 | 17000 | 15000 | 15000 | 19320 | 19320
B | Demolish, Prep and Install Office Space, Laboratory, Hallway, Lunchroom & Kitchenette Ceiling Tile | 1 | LS | 19000 | 19000 | 53000 | 53000 | 40000 | 40000 | 36000 | 36000 | 47000 | 47000 | 47390 | 47390
and Lighting per Contract Drawings.
C | Demolish and Install Ventilation Fans / Air Supply Intake / Heater in Filter Room, Fluoride Room and | 1 | LS | 22000 | 22000 | 46000 | 46000 | 32000 | 32000 | 30700 | 30700 | 26000 | 26000 | 34420 | 34420
Bulk Chemical Area per Contract Drawings.
D | Demolish Day Tanks, Feed Pumps, Feed Conduit, Tubing, Fittings, Ancillary Components to Chemical Feed | 1 | LS | 10000 | 10000 | 26000 | 26000 | 14000 | 14000 | 25000 | 25000 | 14000 | 14000 | 34200 | 34200
Systems in Pipe Gallery. Repair Concrete Surfaces per Contract Drawings.
E | Demolish Carpet and Replace Flooring with VCT in Lunch Room and Offices per Contract Drawings | 1 | LS | 10000 | 10000 | 20000 | 20000 | 5000 | 5000 | 13000 | 13000 | 10000 | 10000 | 10500 | 10500
F | Demolish Existing Fluorescent Lights and Install Lighting in Filter Room, Fluoride Room, Pipe Gallery and | 1 | LS | 95000 | 95000 | 71000 | 71000 | 70000 | 70000 | 70000 | 70000 | 69000 | 69000 | 72300 | 72300
Bulk Chemical Area.
TOTAL ALTERNATES (A+B+C+D+E+F) |  |  |  |  | 173500 |  | 241000 |  | 175000 |  | 191700 |  | 181000 |  | 218130
A.E. MCQUADE & SONS INC
ED PELLITIER & SONS